## Slide 1
Twomes
Results from data analysis
Henri ter Hofte, Hossein Rahmani
Research Group Energy Transition
Windesheim University of Applied Sciences
transmission infiltration ventilation
heating
solar irradiation
‘internal’ heat
heat loss
heat gain

## Slide 2: Analysis: weather in Assendorp, Zwolle
WP3: Data Analysis & Prediction

## Slide 3: Analysis: weather in Assendorp, Zwolle
WP3: Data Analysis & Prediction

## Slide 4: Analysis: data fora single home single week
WP3: Data Analysis & Prediction

## Slide 5: Analysis results (example; Berkum data; 1 week)
WP3: Data Analysis & Prediction

## Slide 6: Model parameters we wanted to learn
symbol | scope | parameter | unit
H | building | specific heat loss | W/K
τ | building | thermal inertia | s (h)
C | building | thermal mass (C = H  τ) | J/K (Wh/K)
A | building | apparent window area (imaginary horizontal window in roof) | m2
Pmax | installation | maximum heating system power (boiler+distribution) | W
ηs;CH | installation | central heating system efficiency (superior value) | %
<Tset;h;d> | comfort needs | weekly thermostat setpoints (home/away/asleep) | K‧s
Twomes WP3: Data Analysis & Prediction

## Slide 7: Learning H [W/K] (specific heat loss) A = 6,0 [m2] (assumed; not learnt)
WP3: Data Analysis & Prediction

## Slide 8: Learning  [h] (thermal inertia) A = 6,0 [m2] (assumed; not learnt)
WP3: Data Analysis & Prediction

## Slide 9: Combining H [W/K] &  [h] each week one dot A = 6,0 [m2] (assumed; not learnt)
WP3: Data Analysis & Prediction

## Slide 10: Combining H [W/K] &  [h]; multi-week average A = 6,0 [m2] (assumed; not learnt)
WP3: Data Analysis & Prediction

## Slide 11: Model parameters we wanted to learn
symbol | scope | parameter | unit
H | building | specific heat loss | W/K
τ | building | thermal inertia | s (h)
C | building | thermal mass (C = H  τ) | J/K (Wh/K)
A | building | apparent window area (imaginary horizontal window in roof) | m2
Pmax | installation | maximum heating system power (boiler+distribution) | W
ηs;CH | installation | central heating system efficiency (superior value) | %
<Tset;h;d> | comfort needs | weekly thermostat setpoints (home/away/asleep) | K‧s
Twomes WP3: Data Analysis & Prediction

## Slide 12: Learning A [m2]  [h] (thermal inertia) / H [W/K] (specific heat loss) also learnt
WP3: Data Analysis & Prediction

## Slide 13: Learning H [W/K] (specific heat loss) A [m2] (apparent window area) &  [h] (thermal inertia) / H [W/K] (specific heat loss) also learnt
WP3: Data Analysis & Prediction

## Slide 14: Learning  [h] (thermal inertia) A [m2] (apparent window area) & H [W/K] (specific heat loss) also learnt
WP3: Data Analysis & Prediction

## Slide 15: Combining H [W/K] &  [h] each week one dot A [m2] (apparent window area) also learnt
WP3: Data Analysis & Prediction

## Slide 16: Combining H [W/K] &  [h]; multi-week average A [m2] (apparent window area) also learnt
WP3: Data Analysis & Prediction

## Slide 17: Berkum: Learning H [W/K] (specific heat loss) A = 6,0 [m2]
WP3: Data Analysis & Prediction

## Slide 18: Berkum: Learning  [h] (thermal inertia) A = 6,0 [m2]
WP3: Data Analysis & Prediction

## Slide 19: Berkum: Learning A [m2] (window aperture)
WP3: Data Analysis & Prediction

## Slide 20: Berkum: Learning H [W/K] together with  [h] & A [m2]
WP3: Data Analysis & Prediction

## Slide 21: Berkum: Learning  [h] together with H [W/K] and A [m2]
WP3: Data Analysis & Prediction